ABSTRACT OF COST

33/11 K.V.S/S Bhaisna (Naraindaspur) Distt.-Pratapgarh)

| Sl. No. | Name of work | Schedule No. | Page No. | Estimated Cost |
| --- | --- | --- | --- | --- |
| 1 | Construction of Switch Gear Room, Building, Boundry wall with Concertina Coil, Security Fencing , Main Gate, Wicket Gate and Security Gate, Septic Tank etc. at 33/11 K.V.S/S…………………………………. | Schedule “A” | 1 | 27,84,177.53 |
| 2 | Additional work for Construction of Switch Gear Room, Building, Boundry wall with Concertina Coil, Secruity Fencing , Main Gate, Wicket Gate and Secuirty Gate, Septic Tank etc. at 33/11 K.V.S/S…………………………………. | Schedule “B” | 3-4 | 28,85,424.86 |
| Total |  |  |  | 56,69,602.39 |

(Service tax & labour cess will be paid extra as applicable)

Condition:

| 1. | Tenderers are advised to visit the site of work and make themselves acquainted with the site condition. No claim what so ever shall be entertained after submission of the tender. |
| --- | --- |
| 2. | Cement shall be arranged by the contractor on his own cost, fresh cement conforming to relevant I.S. of brands such as J.K., Birla uttam, A.C.C., Ambuja or equivalent of major plants shall be used in the work, Contractor shall make proper storage arrangement of cement at site of works to the satisfaction of E/I. Cement should always be stored in such a manner to be easily accessible of proper inspection and in a suitable weather tight building or storage shed to protect the cement from dampness. |
| 3. | TOR steel shall be of Fe 415 grade and of approved make by E/I. |
| 4. | Quantities are approximate and vary up to any extent on either side as per requirement of site conditions. |
| 5. | All above works shall be executed as per U.P.P.W.D./U.P.P.C.L. Specification or as per direction of E/I. |
| 6. | All Electrification material / fittings/ and other materials of door/windows including fitting etc. shall be got approved from E/I before fixing the same at site of work. |
| 7. | ACE Acrylic distemper and paint etc. shall be of ASIAN/BERGER/J&N Brand of approved quality which shall be got approved before using in the work from the E/I. |
| 8. | Flush doors and other fitting Aluminium fitting etc. shall be got approved by E/I. Flush door shutters shall be 100% waterproof ISI marked. |
| 9. | If Specifications for any item of work are not covered by any of the documents mentioned in the contract the same shall be decided and conveyed by the E/I to the contractor. |
| 10. | Old bricks, if any shall be recovered from dismantling of brick work in cement/lime mortar as follows: - 60% of the total quantity of dismantling brick work shall be treated as received and shall be reused @ Rs. 4200.00 per 1000 in relevant item of old B/W. - 25% of the total quantity of dismantling work shall be treated as brick bats and shall be recoverd @ Rs. 850.00 per Cum at site and balance shall be treated as malba. |
| 11 | Old and dismantled doors & windows if any shall be property of contractor which shall be recovered @ Rs. 200.00 per Sqm. from the contractor. |
| 12 | Old unusable steel/ scrap if any of R.C.C./ RB. work shall be recovered @ Rs. 24.00 per kg from the contractor. |
| 13. | Kachchi shuttering in R.C.C. work is strictly prohibited. If R.C.C. is done with Kachchi shuttering , 20% of rate of R.C.C. shall be reduced without giving any notice to the contractor. |
| 14. | The work shall be carried out up to approximately 08M height for Double storied building. |
| 15. | The rates are exclusive of labour cess and Service Tax which shall be paid extra as applicable. For reimbursement of labour cess & Service Tax, Contractor must be registered with Labour Department and Excise Department. |
| 16. | Other terms and conditions are same as attached in enclosed tender documents. |

Jr.Eng.					S.D.O.			    	Ex.Eng.

I/We ………………………………………………..here by offer to execute above noted works on ………………% ( In figure……………………………% ) ( in works) above/below/at par the estimated rates/cost printed in the enclosed bill of quantities of the above work.

SIGNATURE OF CONTRACTOR

NAME & FULL ADDRESS……………….

Mobile No………………………………

ABSTRACT OF COST

33/11 K.V.S/S Budhupur, Distt.-Jaunpur)

| Sl. No. | Name of work | Schedule No. | Page No. | Estimated Cost |
| --- | --- | --- | --- | --- |
| 1 | Construction of Switch Gear Room, Building, Boundry wall with Concertina Coil, Security Fencing , Main Gate, Wicket Gate and Security Gate, Septic Tank etc. at 33/11 K.V.S/S…………………………………. | Schedule “A” | 1 | 27,84,177.53 |
| 2 | Additional work for Construction of Switch Gear Room, Building, Boundry wall with Concertina Coil, Secruity Fencing , Main Gate, Wicket Gate and Secuirty Gate, Septic Tank etc. at 33/11 K.V.S/S…………………………………. | Schedule “B” | 3-4 | 17,64,065.34 |
| Total |  |  |  | 45,48,242.87 |

(Service tax & labour cess will be paid extra as applicable)

Condition:

| 1. | Tenderers are advised to visit the site of work and make themselves acquainted with the site condition. No claim what so ever shall be entertained after submission of the tender. |
| --- | --- |
| 2. | Cement shall be arranged by the contractor on his own cost, fresh cement conforming to relevant I.S. of brands such as J.K., Birla uttam, A.C.C., Ambuja or equivalent of major plants shall be used in the work, Contractor shall make proper storage arrangement of cement at site of works to the satisfaction of E/I. Cement should always be stored in such a manner to be easily accessible of proper inspection and in a suitable weather tight building or storage shed to protect the cement from dampness. |
| 3. | TOR steel shall be of Fe 415 grade and of approved make by E/I. |
| 4. | Quantities are approximate and vary up to any extent on either side as per requirement of site conditions. |
| 5. | All above works shall be executed as per U.P.P.W.D./U.P.P.C.L. Specification or as per direction of E/I. |
| 6. | All Electrification material / fittings/ and other materials of door/windows including fitting etc. shall be got approved from E/I before fixing the same at site of work. |
| 7. | ACE Acrylic distemper and paint etc. shall be of ASIAN/BERGER/J&N Brand of approved quality which shall be got approved before using in the work from the E/I. |
| 8. | Flush doors and other fitting Aluminium fitting etc. shall be got approved by E/I. Flush door shutters shall be 100% waterproof ISI marked. |
| 9. | If Specifications for any item of work are not covered by any of the documents mentioned in the contract the same shall be decided and conveyed by the E/I to the contractor. |
| 10. | Old bricks, if any shall be recovered from dismantling of brick work in cement/lime mortar as follows: - 60% of the total quantity of dismantling brick work shall be treated as received and shall be reused @ Rs. 4200.00 per 1000 in relevant item of old B/W. - 25% of the total quantity of dismantling work shall be treated as brick bats and shall be recoverd @ Rs. 850.00 per Cum at site and balance shall be treated as malba. |
| 11 | Old and dismantled doors & windows if any shall be property of contractor which shall be recovered @ Rs. 200.00 per Sqm. from the contractor. |
| 12 | Old unusable steel/ scrap if any of R.C.C./ RB. work shall be recovered @ Rs. 24.00 per kg from the contractor. |
| 13. | Kachchi shuttering in R.C.C. work is strictly prohibited. If R.C.C. is done with Kachchi shuttering , 20% of rate of R.C.C. shall be reduced without giving any notice to the contractor. |
| 14. | The work shall be carried out up to approximately 08M height for Double storied building. |
| 15. | The rates are exclusive of labour cess and Service Tax which shall be paid extra as applicable. For reimbursement of labour cess & Service Tax, Contractor must be registered with Labour Department and Excise Department. |
| 16. | Other terms and conditions are same as attached in enclosed tender documents. |

Jr.Eng.					S.D.O.			    	Ex.Eng.

I/We ………………………………………………..here by offer to execute above noted works on ………………% ( In figure……………………………% ) ( in works) above/below/at par the estimated rates/cost printed in the enclosed bill of quantities of the above work.

SIGNATURE OF CONTRACTOR

NAME & FULL ADDRESS……………….

Mobile No………………………………